{{ cover_hero }}

ACCURATE Precision monitoring with calibrated instruments; RELIABLE Data you can trust, anytime, anywhere; COMPLIANT Aligned with KSA NCEC & international standards; SUSTAINABLE Supporting a cleaner and healthier future.

CLIENT; {{ client }}. SITE; {{ site_name }}. MONITORING PERIOD; {{ monitoring_window_text }}. REPORT NUMBER; {{ report_number }}. REVISION / DATE; {{ revision }} ¦ {{ reporting_date }}.

PREPARED BY {{ provider }} Environmental Consultant Accredited by the National Center for Environmental Compliance (NCEC) Reported to KSA NCEC 2020 ambient air quality standards

{{ provider_legal_name }} Tel. {{ provider_tel }} ¦ Fax {{ provider_fax }} ¦ {{ provider_email }} ¦ {{ provider_address }}

Air quality Monitoring Report

for

{{ project_name }}

Prepared by

{{ provider }}

| Project | {{ project_name }} |
| --- | --- |
| Document Title | Ambient Air Quality Monitoring Report |
| Client | {{ client }} |
| Report Number | {{ report_number }} |

| Rev | Reporting Date | Prepared by | Project supervision |
| --- | --- | --- | --- |
| {{ revision }} | {{ reporting_date }} | {{ prepared_by }} | {{ project_supervision }} |

Table of Contents

List of Figures

List of Tables

Definitions & Abbreviations

| °C | Degrees Celsius |
| --- | --- |
| µg/m³ | Micrograms per cubic meter at standard temperature and pressure (25°C and 101.3 kPa) |
| W/m² | Watt per square meter |
| AAQMS | Ambient Air Quality Monitoring Station |
| CO | Carbon Monoxide |
| Deg. | Degrees (True North) |
| H₂S | Hydrogen sulfide |
| m/s | Meters per second |
| NO | Nitric oxide |
| NO2 | Nitrogen dioxide |
| NOx | Oxides of Nitrogen |
| O3 | Ozone |
| hPa | Hecto Pascal |
| PM10 | Particulate less than 10 microns in equivalent aerodynamic diameter |
| PM2.5 | Particulate less than 2.5 microns in equivalent aerodynamic diameter |
| ppb | Parts per billion |
| ppm | Parts per million |
| RH | Relative Humidity |
| SO₂ | Sulfur dioxide |
| WD | Wind Direction |
| WS | Wind Speed |

# Executive Summary

{{ provider }} was commissioned by {{ client }} to conduct ambient air quality monitoring at {{ project_name }}. Continuous ambient air monitoring was conducted at one location for a period of {{ monitoring_period_text }} by the air quality monitoring station (AQMS). The Air Quality Monitoring started on {{ monitoring_start_date }}. This report presents a summary of the validated data that was obtained for the period of {{ monitoring_window_text }}. The ambient air quality monitoring station (AAQMS) was equipped to measure standard air pollutants and meteorological parameters as listed below.

| Air Pollutants Monitored | Meteorological Parameters Monitored |
| --- | --- |
| Oxides of Nitrogen (NO2) | Wind Speed |
| Sulphur Dioxide (SO₂) | Wind Direction |
| Carbon Monoxide (CO) | Air Temperature |
| Ozone (O3) | Relative Humidity |
| Hydrogen Sulfide (H₂S) | Barometric Pressure |
| Particulates Matter - PM10 |  |
| Particulates Matter - PM2.5 |  |

{{ capture_sentence }} For QA/QC checks, in accordance with the relevant United States Environmental Protection Agency (EPA) methods for each parameter, were carried out within the required schedule. USEPA data handling guidelines were followed in collecting, verifying, and validating continuous ambient air quality and meteorological monitoring data in this report.

Key finding

{{ headline_finding }}

{%p if site_geometry_text %}

{{ site_geometry_text }}

{%p endif %}

Table  : Percent of Data Captured for all Parameters.

| Parameters | Total hours in monitoring period | Total available hours in monitoring period | Exception hours | AAQMS 1-Hour's data capture % |
| --- | --- | --- | --- | --- |
| {%tr for r in capture_rows %} |  |  |  |  |
| {{ r.name }} | {{ r.total }} | {{ r.available }} | {{ r.exception }} | {{ r.capture }} |
| {%tr endfor %} |  |  |  |  |

# 1. Introduction

An ambient air quality monitoring survey was conducted for the {{ project_name }}. {{ provider }} ({{ provider_short }} - is an environmental laboratory in field of air quality monitoring approved by NCEC) installed the AQMS at one location in the proposed location as per client request and environmental judgment. {{ provider_short }} stations Lab was retained by {{ client }} and {{ provider_short }} was responsible for the operation and maintenance of the AAQMS as well as the validation of the data recorded. This report presents the data collected at the project site for the period of {{ monitoring_window_text }}.

This report summarizes the results obtained from the ambient air quality survey and field observations for any exceedances of the NCEC air quality standard. The ambient air quality standards used to identify pollution include the national standards set out in the Implementing Regulations for Air Quality of the Environmental Law issued by Royal Decree No. (M/165) as of 19/11/1441 AH. Graphical representations of the monitoring results within the context of the relevant limit values are also provided.

The following air pollutants were measured at each point:

Particulate matter with aerodynamic diameters less than 10 microns (PM10),

Particulate matter with aerodynamic diameters less than 2.5 microns (PM2.5),

Sulfur dioxide (SO₂).

Hydrogen Sulfide (H₂S).

Oxides of Nitrogen (NO2).

Ozone (O3).

Carbon Monoxide (CO).

In addition, meteorological data for wind speed, wind direction, ambient temperature, relative humidity, and barometric pressure were also measured.

# 2. Monitoring and Data Collection

## 2.1 Site Details

The location of the ambient air quality monitoring station as shown in Table 2 and Figure 1. The Monitoring location was chosen by ({{ client }}) and was intended to provide background or baseline data for the site. Inlet manifold length {{ inlet_height_m }} meters from ground level.

Table  : Location of Ambient Air Quality Monitoring Stations

| Site Name | Geographical Coordinates |
| --- | --- |
| {{ site_name }} | N {{ latitude }} E {{ longitude }} |

{%p if fig_site_map %}

{{ fig_site_map }}

{%p endif %}

Figure  : Location of the Ambient Air quality monitor

| {%tr for row in site_photo_rows %} |  |
| --- | --- |
| {{ row[0] }} | {{ row[1] }} |
| {%tr endfor %} |  |

{%p if fig_site_photo %}

{{ fig_site_photo }}

{%p endif %}

Figure  : Location of the Ambient Air quality monitoring stations in the site

## 2.2 Monitoring Methodology

Monitoring methodology and Reference Measurement Principle and Calibration Procedures for the Measurement of Ambient Air Quality Pollutants are summarized in Table 3.

Table  : Reference Measurement Principle and equivalent reference method

| Measured Parameter | Data Collection Methods Used | Description of the Method | Method Type | Automated Equivalent Reference Method ID |
| --- | --- | --- | --- | --- |
| Sulfur Dioxide (SO2) | 40 CFR Appendix A-1 to Part 50 | Reference Measurement Principle and Calibration Procedure for the Measurement of Sulfur Dioxide in the Atmosphere (Ultraviolet Fluorescence Method) | FRM | EQSA-0486-060 |
| Nitrogen Oxides (NO - NO2 - NOx) | Code of Federal Regulations, Title 40, Part 50, Appendix F | Measurement Principle and Calibration Procedure for the Measurement of Nitrogen Dioxide in the Atmosphere (Gas Phase Chemiluminescence) | FRM | RFNA-1289-074 |
| Ozone (O3) | USEPA Code of Federal Regulations (Title 40, Part 50, Appendix D) | Reference Measurement Principle and Calibration Procedure for the Measurement of Ozone in the Atmosphere (UV light absorption Method) | FRM | EQOA-0880-047 |
| Carbon Monoxide (CO) | 40 CFR Appendix C to Part 50 | Measurement Principle and Calibration Procedure for the Measurement of Carbon Monoxide in the Atmosphere (Non-Dispersive Infrared Photometry) | FRM | RFCA-0981-054 |
| Hydrogen Sulfide (H2S) | Described below in detail | NA | NA | NA |
| Particulate Matter (PM10 & PM2.5) | 40 CFR 50 Appendix L | Reference Method for the Determination of Fine Particulate Matter | FRM | EQPM-0609-183 |

* FRM: Federal Reference Method

## 2.3 Monitored Parameters

Table 4 below shows the details of parameters monitored and the instruments used at the monitoring station. Note that the meteorological instruments (wind Speed, wind direction, Temp, and RH) sensors installed at 10 m above ground level. Barometric pressure installed at 3 m above ground level.

Table  : Parameters Measured at Air Quality Monitoring Stations

| PARAMETERS MEASURED | SN | INSTRUMENT AND MEASUREMENTS TECHNIQUES |
| --- | --- | --- |
| {%tr for i in instruments %} |  |  |
| {{ i.parameter }} | {{ i.sn }} | {{ i.technique }} |
| {%tr endfor %} |  |  |

SN: serial number

## 2.4 Data Collection Methods

### 2.4.1 Compliance with Standards

The instruments used in the stations were approved by the US EPA and all procedures for ambient air monitoring are in accordance with US EPA procedures.

### 2.4.2 Data Acquisition

Data acquisition was performed by using a PC based situated at each of the monitoring sites. Data was logged every 15 seconds and stored every 1 minute. The data was backed up and downloaded every day and subjected to a rigorous program of quality checking.

## 2.5 Data Validation and Reporting

### 2.5.1 Validation

The purpose of the data validation section is to specify the guidelines that have been taken into consideration whenever possible in collecting, verifying, and validating continuous ambient air quality and meteorological monitoring data in this project.

{{ provider_short }} maintains one distinct database containing non-validated and validated data respectively. The validated database is created by duplicating the non-validated database and then flagging data affected by instrument faults, calibrations, and other maintenance activities. Invalid data is removed with the support of valid reason e.g., supported by maintenance notes, calibration sheets etc. as documented in exception tables.

Validation is performed by a trained data analyst. All data is checked and reviewed by the {{ provider_short }} section head. Graphs and reports are generated based on the validated hourly data and daily data.

### 2.5.2 Data Validation Levels

Level 0 — Routine checks – Field and laboratory operations, data processing, reporting conducted in accordance with Standard Operating Procedures (SOPs) – Proper data file identification; review of unusual events, field data sheets, and result reports; instrument performance checks.

Level I — Internal consistency tests – Identify values that appear atypical when compared to the values of the entire dataset.

Level II/III — External consistency tests – Identify values in the data that appear atypical when compared to other datasets – Continued evaluation of the data as part of the data interpretation process.

Outliers are values that lie outside most of the other values in a set of data. Outliers treated as valid/suspect until proven invalid. The first assumption upon finding a measurement that is inconsistent with physical expectations is that the unusual value is due to a measurement error. If upon tracing the path of the measurement, nothing unusual is found, the value can be assumed to be a valid result of an environmental cause.

### 2.5.3 Considerations in Evaluating AAQ Data

Levels of other pollutants

Time of day/year

Observations at other sites

Audits and inter-laboratory comparisons

Instrument performance history

Calibration drift

Site characteristics

Meteorology

Exceptional events

Visual Data Review: Time Series are visually inspected for the below:

Jumps, dips.

Periodicity of peaks

Calibration gas, carryover

Expected diurnal pattern.

Expected relationships.

High concentrations of less abundant species or low concentrations of more abundant species

Data is put into perspective of:

Local, regional, or national averages

Trends over time

Comparison to nearby sites, similar areas

Detection limits

### 2.5.4 Reporting

The reported data is provided in a Microsoft Excel spreadsheet. The data contained in these reports is based on Kingdom of Saudi Arabia (KSA) time.

# 3. Ambient Air Quality Standards

The air quality monitoring station's data has been compared to the NCEC's 2020 ambient air quality standards. Table 5 summarizes the NCEC's 2020 ambient air quality standards for the pollutants studied. Note that CO and O3 averages are rolling averages whereas all other averages are fixed averages.

Table  : KSA NCEC Ambient Air Quality Standards

| Parameter | Time Period | Exceedance Level | Units | Number of Allowable Exceedances |
| --- | --- | --- | --- | --- |
| {%tr for l in ncec_rows %} |  |  |  |  |
| {{ l.pollutant }} | {{ l.period }} | {{ l.limit }} | µg/m³ | {{ l.allowance }} |
| {%tr endfor %} |  |  |  |  |

# 4. Calibrations and Maintenance

## 4.1 Maintenance

Regular maintenance was carried out by {{ provider_short }}. Sample inlets of all analyzers were cleaned before installation and on a weekly basis. Filters of gas analyzers were changed before the start of monitoring. Meteorological sensors cleaned before installation. In addition, the regular maintenance program conducted as per standard or operation manual such as: meteorological sensors should be cleaned after rain because the dust particles stick to the meteorological sensors. After every sandstorm, inlets of all analyzers as well as manifolds of the gas analyzers should be cleaned to protect analyzers from particulate matter.

## 4.2 Calibration

Multipoint calibration of the instruments monitoring gaseous pollutants was conducted one time before the monitoring period. The instruments were calibrated in full accordance with the manufacturer's recommendations and conform to the requirements of USEPA. Calibrations were performed at the monitoring site by allowing the analyzer to sample a gaseous standard containing a known pollutant concentration. Calibration data were recorded by the same data acquisitions system. Mast wind direction system was oriented at South direction as per manufacture operation manual.

# 5. Results and discussion

## 5.1 Air Quality Summary

Table 6 summarises the compliance status of every monitored pollutant against the applicable NCEC 2020 limits. Detailed results for each pollutant follow in the sections below.

Table  : Compliance Summary against NCEC 2020 Standards

| POLLUTANT | AVERAGING PERIOD | MEASURED µg/m³ | NCEC LIMIT µg/m³ | % OF LIMIT | STATUS |
| --- | --- | --- | --- | --- | --- |
| {%tr for r in compliance_rows %} |  |  |  |  |  |
| {{ r.pollutant }} | {{ r.period }} | {{ r.measured }} | {{ r.limit }} | {{ r.pct_of_limit }} | {{ r.verdict }} |
| {%tr endfor %} |  |  |  |  |  |

Measured values are the maximum recorded for each averaging period. N/R* denotes a parameter for which data capture did not meet the 75% requirement.

Tables 6 to 13 compare monitoring results for AAQMS for the period of {{ monitoring_window_text }} on the site. The results are explained as follows:

- Air Pollutants Monitored results

### 5.1.1 Sulphur Dioxide (SO2)

Levels of Sulphur dioxide (SO2) in ambient air are typically directly related to the concentration of Sulphur in fuel and the quantity of fuel being combusted. Upon combustion, approximately 98% of the Sulphur in the fuel will oxidize to form SO2, with the remaining 2% producing Sulphur trioxide (SO3). The emitted SO2 can also further oxidize to SO3 and react with water to produce acid rain in the form of sulphury acid (H2SO4). Short-term exposures to SO2 have shown adverse respiratory effects including bronchoconstriction and increased asthma symptoms.

{{ so2.narrative }}

Table  : Summary of SO₂ Results

|  |  | NCEC Exceedance Level µg/m³ |  |
| --- | --- | --- | --- |
|  |  | 1 Hour | 24 Hour |
| Percentage data capture (Hourly Values) | {{ so2.capture }} | {{ so2.limit_1h }} | {{ so2.limit_24h }} |
| Hourly Maximum (ug/m³) | {{ so2.h_max }} |  |  |
| Hourly Minimum (ug/m³) | {{ so2.h_min }} |  |  |
| Daily average (ug/m³) | {{ so2.daily_avg }} |  |  |
| Hourly value > {{ so2.limit_1h }} (ug/m³) | {{ so2.exceed_1h }} |  |  |

{{ so2.footnote }}

{{ fig_so2 }}

Figure  : SO2 Hourly Concentration at the location.

### 5.1.2 Oxides of Nitrogen (NO, NO2, NOx)

In a combustion process, NOx is produced through three mechanisms, namely thermal NOx, fuel NOx and prompt NOx. Thermal NOx is the primary source of NOx and is formed as a high temperature dissociation and subsequent reaction of nitrogen (N2) and oxygen (O2). NO2 is the primary component of concern in NOx emissions. Generally, up to 10% of the NOx emitted from the combustion of fuel is emitted as NO2. The remainder is emitted as NO, which is subsequently converted to NO2 in reactions with various oxidants and ozone as the plume is transported downwind from the source. NO2 is a reddish-brown gas with a pungent odor, which upon reaction with other atmospheric compounds, becomes a major contributor to smog, acid rain, inhalable particulates and reduced visibility. At significant levels and exposure, inhalation may result in irritation and burning to the skin and eyes, nose, and throat. Prolonged exposure may result in permanent lung damage.

{{ nox_group.narrative }}

Table  : Summary of (NO, NO2, NOx) Results.

| NO₂ Concentration at sampling point |  | NCEC Exceedance Level µg/m³ — 1 Hour |
| --- | --- | --- |
| Percentage data capture (Hourly Values) | {{ no2.capture }} | {{ no2.limit_1h }} |
| Hourly Maximum (ug/m³) | {{ no2.h_max }} |  |
| Hourly Minimum (ug/m³) | {{ no2.h_min }} |  |
| Hourly value > {{ no2.limit_1h }} (ug/m³) | {{ no2.exceed_1h }} |  |
| Daily average (ug/m³) | {{ no2.daily_avg }} |  |
| NO |  | NA |
| Percentage data capture (Hourly Values) | {{ no.capture }} | NA |
| Hourly Maximum (ug/m³) | {{ no.h_max }} |  |
| Hourly Minimum (ug/m³) | {{ no.h_min }} |  |
| Daily average (ug/m³) | {{ no.daily_avg }} |  |
| NOX |  | NA |
| Percentage data capture (Hourly Values) | {{ nox.capture }} | NA |
| Hourly Maximum (ug/m³) | {{ nox.h_max }} |  |
| Hourly Minimum (ug/m³) | {{ nox.h_min }} |  |
| Daily average (ug/m³) | {{ nox.daily_avg }} |  |

{{ nox_group.footnote }}

{{ fig_no }}

Figure  : NO Hourly Concentration at the location.

{{ fig_no2 }}

Figure  : NO2 Hourly Concentration at the location.

{{ fig_nox }}

Figure  : NOX Hourly Concentration at the location.

### 5.1.3 Carbon Monoxide (CO)

Carbon monoxide is a colorless and odorless gas which reduces the delivery of oxygen to the body's organs. For those with heart disease, exposure to low doses can result in chest pain. For healthier people, exposure to higher levels affects the central nervous system. Incomplete oxidation of fuel results in the formation of CO.

{{ co.narrative }}

Table  : Summary of CO Results.

|  |  | NCEC Exceedance Level µg/m³ |  |
| --- | --- | --- | --- |
|  |  | 1 Hour | 8 Hour |
| Percentage data capture (Hourly Values) | {{ co.capture }} | {{ co.limit_1h }} | {{ co.limit_8h }} |
| Hourly Maximum (ug/m³) | {{ co.h_max }} |  |  |
| Hourly Minimum (ug/m³) | {{ co.h_min }} |  |  |
| 8 Hour Maximum (ug/m³) | {{ co.r8_max }} |  |  |
| 8 Hour Minimum (ug/m³) | {{ co.r8_min }} |  |  |
| Hourly value > {{ co.limit_1h }} (ug/m³) | {{ co.exceed_1h }} |  |  |
| 8-Hourly rolling average value > {{ co.limit_8h }} (ug/m³) | {{ co.exceed_8h }} |  |  |
| Daily average (ug/m³) | {{ co.daily_avg }} |  |  |

{{ co.footnote }}

{{ fig_co }}

Figure  : CO Hourly Concentration at the location.

{{ fig_co8h }}

Figure  : CO 8 Hour Rolling Average Concentrations at the location.

### 5.1.4 Hydrogen sulfide (H2S)

Hydrogen sulfide is a chemical compound with the formula H2S. It is a colorless chalcogen-hydride gas, and is poisonous, corrosive, and flammable, with trace amounts in ambient atmosphere having a characteristic foul odor of rotten eggs.

{{ h2s.narrative }}

Table  : Summary of H₂S Results.

|  |  | NCEC Exceedance Level µg/m³ |  |
| --- | --- | --- | --- |
|  |  | 1 Hour | 24 Hour |
| Percentage data capture (Hourly Values) | {{ h2s.capture }} | {{ h2s.limit_1h }} | {{ h2s.limit_24h }} |
| Hourly Maximum (µg/m³) | {{ h2s.h_max }} |  |  |
| Hourly Minimum (µg/m³) | {{ h2s.h_min }} |  |  |
| Hourly value > {{ h2s.limit_1h }} (ug/m³) | {{ h2s.exceed_1h }} |  |  |
| Daily Average (µg/m³) | {{ h2s.daily_avg }} |  |  |

{{ h2s.footnote }}

{{ fig_h2s }}

Figure  : H2S Hourly Concentration at the location.

### 5.1.5 Ozone (O3)

Ozone forms a protective layer which prevents entry of harmful ultraviolet radiation into the earth. The ground ozone is very harmful to human beings and the environment. It is released from industries, automobile emissions, gasoline vapors, solvents, chemicals, and electronic devices. Nitrogen oxides (NOx) and total Volatile Organic Compounds (TVOCs) also contribute to ground ozone formation. Ground ozone interferes with the plant's respiration process and enhances environmental stressor susceptibility. When ozone is inhaled by humans, reduced lung function, inflammation of airways, and irritation in the eyes, nose & throat are seen.

{{ o3.narrative }}

Table  : Summary of O3 Result.

|  |  | NCEC Exceedance Level µg/m³ |
| --- | --- | --- |
|  |  | 8 Hour |
| Percentage data capture (Hourly Values) | {{ o3.capture }} | {{ o3.limit_8h }} |
| Hourly Maximum (ug/m³) | {{ o3.h_max }} |  |
| 8 Hour Maximum (ug/m³) | {{ o3.r8_max }} |  |
| 8 Hour value > {{ o3.limit_8h }} (ug/m³) | {{ o3.exceed_8h }} |  |
| Daily average (ug/m³) | {{ o3.daily_avg }} |  |

{{ o3.footnote }}

{{ fig_o3 }}

Figure  : O3 Hourly Concentration at the location.

{{ fig_o38h }}

Figure  : O3 8 Hour Rolling Average Concentrations at the location.

{{ fig_no2_o3 }}

Figure  : NO2 vs. O3 Hourly Concentrations at the location.

### 5.1.6 Particulate Matter (PM10 & PM2.5)

A mixture of particles with liquid droplets in the air forms particulate matter. PM10 are particles that have a size of less than or equal to 10 microns whereas PM2.5 are ultra-fine particles having a size of less than or equal to 2.5 microns. Particulate Matter is released from constructions, smoking, cleanings, renovations, demolitions, natural hazards such as earthquakes, volcanic eruptions, and emissions from industries such as brick kilns, paper & pulp, etc. These particles, when inhaled, can penetrate deeper into the respiratory system, and cause respiratory ailments such as asthma, coughing, sneezing, irritation in the airways, eyes, nose, throat irritation, etc. Studies have also shown links between PM exposure and diabetes.

{{ pm_group.narrative }}

Table  : Summary of PM10 Results.

|  |  | NCEC Exceedance Level µg/m³ |
| --- | --- | --- |
|  |  | 24 Hour |
| Percentage data capture (Hourly Values) | {{ pm10.capture }} | {{ pm10.limit_24h }} |
| Hourly Maximum (ug/m³) | {{ pm10.h_max }} |  |
| Hourly Minimum (ug/m³) | {{ pm10.h_min }} |  |
| Daily Values > {{ pm10.limit_24h }} (ug/m³) | {{ pm10.exceed_24h }} |  |
| Daily average (ug/m³) | {{ pm10.daily_avg }} |  |

{{ pm10.footnote }}

Table  : Summary of PM2.5 Results.

|  |  | NCEC Exceedance Level µg/m³ |
| --- | --- | --- |
|  |  | 24 Hour |
| Percentage data capture (Hourly Values) | {{ pm25.capture }} | {{ pm25.limit_24h }} |
| Hourly Maximum (ug/m³) | {{ pm25.h_max }} |  |
| Hourly Minimum (ug/m³) | {{ pm25.h_min }} |  |
| Daily Values > {{ pm25.limit_24h }} (ug/m³) | {{ pm25.exceed_24h }} |  |
| Daily average (ug/m³) | {{ pm25.daily_avg }} |  |

{{ pm25.footnote }}

{{ fig_pm10 }}

Figure  : PM10 Hourly Concentrations at the location.

{{ fig_pm25 }}

Figure  : PM2.5 Hourly Concentrations at the location.

- Meteorological Parameters Monitored result:

The evaluation and interpretation of gas emission measurements is only possible in comparison with meteorological data acquired concurrently. The structure of the atmosphere close to the ground is extremely important for the local climate. Knowing solar radiation as well as the air humidity and air temperature is necessary to evaluate chemical reactions of pollutants in the air.

### 5.1.7 Temperature and humidity

Temperature and humidity play a significant role in gas emission measurements. The recorded data of temperature and humidity was captured for {{ monitoring_hours }} hours. The results for the location were summarized in the following table, and represented on a graph (Figures below).

### 5.1.8 Barometric pressure

To predict the weather, it must be the first understanding how atmospheric pressure works. The higher the barometric pressure, the better it is for good weather conditions. Conversely, low pressures generally bring in more clouds and moisture, leading to poor visibility and even precipitation or snowfall. The recorded data of Barometric pressure was captured for {{ monitoring_hours }} hours.

### 5.1.9 Wind speed and direction

Wind speed describes how fast the air is moving past a certain point. Wind direction describes the direction on a compass from which the wind emanates. Wind speed and direction are important for monitoring and predicting weather patterns and global climate. The recorded data of Wind speed and direction was captured for {{ monitoring_hours }} hours at the location. The results were summarized in the following table, and represented on a graph. Also, the Wind speed and direction were represented as a wind rose, and the wind frequency count and distribution was mentioned in the tables below. A wind rose is a graphic tool used by meteorologists to give a succinct view of how wind speed and direction are typically distributed at a particular location. Using a polar coordinate system of gridding, the frequency of winds over a period is plotted by wind direction, with color bands showing wind speed ranges. The direction of the longest spoke shows the wind direction with the greatest frequency.

Table  : Monitored Meteorological Parameters result.

| Ambient Temperature result |  |
| --- | --- |
| Percentage data capture (Hourly Values) | {{ met.temp_capture }} |
| Hourly Maximum (⁰C) | {{ met.temp_max }} |
| Hourly Minimum (⁰C) | {{ met.temp_min }} |
| Relative Humidity result |  |
| Percentage data capture (Hourly Values) | {{ met.rh_capture }} |
| Hourly Maximum (%) | {{ met.rh_max }} |
| Hourly Minimum (%) | {{ met.rh_min }} |
| Barometric Pressure result |  |
| Percentage data capture (Hourly Values) | {{ met.pressure_capture }} |
| Hourly Max (hPa) | {{ met.pressure_max }} |
| Hourly Minimum (hPa) | {{ met.pressure_min }} |
| Wind Parameters result |  |
| Percentage data capture (Hourly Values) | {{ met.ws_capture }} |
| Wind Speed Hourly Maximum (m/s) | {{ met.ws_max }} |
| Wind Speed Hourly Minimum (m/s) | {{ met.ws_min }} |
| Mean Wind Speed (m/s) / Prevailing Wind Direction | {{ met.ws_mean }} / {{ met.prevailing }} |

{{ fig_temp }}

Figure  : Hourly Temperature at the location.

{{ fig_rh }}

Figure  : Hourly Relative Humidity at the location.

{{ fig_pressure }}

Figure  : Hourly Pressure at the location.

{{ fig_ws }}

Figure  : Hourly Wind Speed at the location.

{{ fig_windrose }}

Figure  : Wind Rose at the location.

{{ fig_windclassfreq }}

Figure  : Wind class frequency distribution graph at the location.

Table  : Wind class frequency distribution at the location.

| Directions / Wind Classes (m/s) | {%tc for c in wind_class_labels %} | {{ c }} | {%tc endfor %} | Total |
| --- | --- | --- | --- | --- |
| {%tr for r in wind_pct_rows %} |  |  |  |  |
| {{ r.direction }} | {%tc for v in r.vals %} | {{ v }} | {%tc endfor %} | {{ r.total }} |
| {%tr endfor %} |  |  |  |  |
| Sub-Total | {%tc for v in wind_pct_totals %} | {{ v }} | {%tc endfor %} | {{ wind_pct_totals_grand }} |
| Calms | {{ wind_pct_totals_calms }} |  |  |  |
| Missing/Incomplete | {{ wind_pct_totals_missing }} |  |  |  |

Table  : Wind class count at the location.

| Directions / Wind Classes (m/s) | {%tc for c in wind_class_labels %} | {{ c }} | {%tc endfor %} | Total |
| --- | --- | --- | --- | --- |
| {%tr for r in wind_count_rows %} |  |  |  |  |
| {{ r.direction }} | {%tc for v in r.vals %} | {{ v }} | {%tc endfor %} | {{ r.total }} |
| {%tr endfor %} |  |  |  |  |
| Sub-Total | {%tc for v in wind_count_totals %} | {{ v }} | {%tc endfor %} | {{ wind_count_totals_grand }} |
| Calms | {{ wind_count_totals_calms }} |  |  |  |
| Missing/Incomplete | {{ wind_count_totals_missing }} |  |  |  |

# 6. Conclusions

Key observations arising from the examination of the recorded data for the monitoring period in the project site ({{ monitoring_window_text }}).

The average data capture for the station was {{ overall_capture }} % for air quality and meteorological parameters.

{%p for c in conclusion_blocks %}

For {{ c.title }} concentrations:

{%p for line in c.lines %}

- {{ line }}

{%p endfor %}

{%p endfor %}

{{ met_conclusion_1 }}

{{ met_conclusion_2 }}

{{ met_conclusion_3 }}

{{ met_conclusion_4 }}

The prevailing wind direction at the site was {{ met.prevailing }}.

# 7. Recommendations

The following recommendations arise from the results of this survey.

{%p for r in recommendations %}

{{ r }}

{%p endfor %}

# 8. Measurement Uncertainty

{{ uncertainty_text }}

# 9. Limitations

{%p for l in limitations %}

{{ l }}

{%p endfor %}

# Appendix 1 Valid Data Exception

{{ appendix1_text }}

# Appendix 2 Valid Data Terms

Span / zero check. A manual zero calibration check is performed whereby air is passed through filter element, removing particulates, before entering the sensor in the analyzer. Data is invalidated when these checks occur.

Multipoint Calibration. To perform multipoint calibration, span and zero gases are passed through filter element, removing particulates, before entering the sensor in the analyzer. Data is invalidated when calibration occurs.

Instrument fault refers to a period when the instrument was not in the normal operating mode and did not measure a representative value of the existing conditions.

Data Communication Issue refers to a period when instrument is not connected to data logger (Configuration lost).

Power Interruption refers to no power to the AAQMS therefore no data was collected at that time.

# Appendix 3 Calibration certificates

{%p if calibration_images %}

{%p for c in calibration_images %}

{{ c.title }}

{{ c.image }}

{%p endfor %}

{%p else %}

[Calibration certificates to be attached — upload scanned certificates for this campaign.]

{%p endif %}

# Appendix 4 Environmental license for the institution

{%p if license_images %}

{%p for img in license_images %}

{{ img }}

{%p endfor %}

{%p else %}

[Environmental license to be attached — upload scanned license for this provider.]

{%p endif %}